Avoiding Mold Hazards

A flood-damaged building requires special attention to avoid or correct a mold population explosion. Molds produce spores that float and spread easily through the air, forming new mold growths (colonies) when they find the right conditions – moisture, nutrients (nearly anything organic) and a place to grow.

Mold problems can result in damage to materials and health. The longer mold is allowed to grow, the greater the risk and the harder it is to remedy.  So as soon as the floodwaters recede and it is safe to return, don’t delay clean-up and dry out.

People are mainly exposed to mold by breathing spores or fragments, and can also be exposed through skin contact.  Wearing gloves and a mask or respirator that can filter mold spores (N-95 or better) is recommended.

Although there is wide variation in how people are affected by mold, long term or high exposure is unhealthy for anyone.  Exposure to mold can trigger allergic reactions and asthma attacks, may suppress the immune system or have other effects.  Some types of mold can produce mycotoxins in certain conditions, which can be present in live and dead spores and fragments in the air.  “Black mold” is a misleading term since many types are black.

#### Mold testing is not usually needed and is rarely useful to answer questions about health concerns . Some insurance companies and legal services may require sampling as a form of documentation. Professional mold remediation contractors may test before and after clean-up to provide evidence of the clean-up’s effectiveness.

To clean up mold, follow these steps and refer to the EPA guidelines: A Brief Guide To Mold, Moisture, and Your Home or Mold Remediation In Schools and Commercial Buildings available online at www.epa.gov/iaq):

Isolate Work Area and Ventilate to Outdoors:  Disturbing mold colonies can cause a massive release of spores, so seal off the contaminated area from the rest of the house.  If power is on, use a fan to exhaust air to the outdoors.

#### Remove And Discard  Moldy Materials: Porous moldy or sewage contaminated materials should be removed, bagged and thrown away --  including gypsum wallboard, insulation, plaster, carpet/carpet pad, ceiling tiles, processed wood products and paper. To minimize the spread of spores, cover moldy material with plastic to contain spores before removing and discard it.

Clean Surfaces Surface mold on non-porous materials such as hard plastic, concrete, glass, metal and solid wood can usually be cleaned. Cleaning must remove, not just kill, the mold because dead spores can still cause health problems.

After cleaning, you may choose to use a disinfectant to kill any mold missed by the cleaning.  In the case of sewage contamination, disinfection must be performed.  Contact your local health department for appropriate advice.

On color-fast, non-metal surfaces, you may disinfect with a solution of 1/4 to 1/2 cup bleach per gallon of water.  Do not use in the air system. Milder, less corrosive disinfectants include alcohols, disinfecting cleaners and hydrogen peroxide. Always handle with caution, never mix bleach with ammonia and test on a small area before treatment.

#### Speed Dry: Dry all wet materials as quickly as possible. Use air conditioning or heat with fans and dehumidifiers, if possible. New mold colonies can form in as little as three days if materials stay wet.  Wood and other materials that may look dry can still be wet enough to support regrowth.

### Remain on Mold Alert  Continue looking for signs of moisture or new mold growth. If mold returns, repeat cleaning and consider using speed drying equipment and moisture meters. Regrowth may signal that the material was not dry enough or should be removed. Rebuilding and refurnishing should wait until all affected materials have dried completely.